## Slide 1
Power generator
Fuel pump and moto
10KV
Solar panel power plant
Wind turbine
Power plant
40V
3.3 KV
DC-AC generating substation
AC-AC generating substation
AC generating substation
Power plant
Generating step up transformer
33kV
33kV
33kV
138k-400k V
138k-230k
direct customer
138k-230k transmission customer
Substation step down transformer
lvl0
lvl1
lvl2
Substation Customer
26-69kV
Primary step-down transformer
Primary Customer
Secondary step-down transformer
4-13kV
120-240V
Railway Simulation System
Smart Factory Simulation System
Smart Home Simulation System
Secondary Customer
Color Key:
Blue: Generation
Red: Transmission
Green: distribution
Black: Customer

## Slide 2
Power generator
Fuel pump and moto
10KV
Solar panel power plant
Wind turbine
Power plant
40V
3.3 KV
DC-AC generating substation
AC-AC generating substation
AC generating substation
Power plant
Generating step up transformer
33kV
33kV
33kV
138k-400k V
138k-230k
direct customer
138k-230k transmission customer
Substation step down transformer
lvl0
lvl1
lvl2
Substation Customer
26-69kV
Primary step-down transformer
Primary Customer
Secondary step-down transformer
4-13kV
120-240V
Railway Simulation System
Smart Factory Simulation System
Smart Home Simulation System
Secondary Customer
Color Key:
Blue: Generation
Red: Transmission
Green: distribution
Black: Customer
R
P
P
P
P
R
R
P
P
R
P
P
P
R
R
P
R
P
P
P
P
R
R
R
P
P
P
P
P
P
R
R
R
R
R
R
P
PLC Connection and Control Point
R
RTU Monitoring Point
Google weather API
R

## Slide 3
Level 0
Physical Process
Field I/O device
Wind Turbines
Low voltage power bus
Secondary Loads
Solar Panels
Power generator
Circuit breakers
High voltage power bus
Step down transformer
Step up transformer
Electrical MUs
Station Loads
Primary Loads
Generation Control PLC
Generation Monitor RTU
Transmission Monitor RTU
Transmission Control PLC
Distribution Control PLC
Distribution Monitor RTU
PLC Simulator
RTU Simulator
Level 2
Control Center (HQ) Processing LAN
Level 1
OT System Controller LAN
Power System control HMI
Power System Monitor HMI
Maintenance workstations
Power Grid Simulation System
Mini Power System Cyber Security Test Platform
Power System Physical World Simulator
MU
Simulator
Power System Scada HMI