## Slide 1
Power generator
Fuel pump and moto
10KV
Solar panel power plant
Wind turbine
Power plant
40V
3.3 KV
DC-AC generating substation
AC-AC generating substation
AC generating substation
Power plant
Generating step up transformer
33kV
33kV
33kV
138k-400k V
138k-230k
direct customer
138k-230k transmission customer
Substation step down transformer
lvl0
lvl1
lvl2
Substation Customer
26-69kV
Primary step-down transformer
Primary Customer
Secondary step-down transformer
4-13kV
120-240V
Railway Simulation System
Smart Factory Simulation System
Smart Home Simulation System
Secondary Customer
Color Key:
Blue: Generation
Red: Transmission
Green: distribution
Black: Customer

## Slide 2
Power generator
Fuel pump and moto
10KV
Solar panel power farm
Wind turbine power farm
40V
3.3 KV
DC-AC generating substation
AC-AC generating substation
AC-AC generating substation
Natural gas power plant
Generating step-up transformer
33kV
33kV
33kV
138k-400k V High voltage transmission
138k-230k
direct customer (optional )
138k-230k transmission customer (optional)
Substation step down transformer
lvl0
lvl1
lvl2
Substation Customer
26-69kV
Primary step-down transformer
Primary Customer
Secondary step-down transformer
4-13kV
120-240V
Railway Simulation System
Smart Factory Simulation System
Smart Home Simulation System
Secondary Customer
Color Key:
Blue: Generation
Red: Transmission
Green: distribution
Black: Customer
R
P
P
P
P
R
R
P
P
R
P
P
P
R
P
R
P
P
P
P
R
R
R
P
P
P
P
P
P
R
R
R
R
R
R
P
PLC Connection and Control Point ( remote circuit breaker + closer sensors)
R
RTU Monitoring Point (metering unit)
R
R
Online real time city weather data

## Slide 3
Level 0
Physical Process
Field I/O
device
Wind Turbines
Low voltage power bus
Secondary Loads
Solar Panels
Power generator
Circuit breakers
High voltage power bus
Step down transformer
Step up transformer
Electrical MUs
Station Loads
Primary Loads
Generation Control PLC
Generation Monitor RTU
Transmission Monitor RTU
Transmission Control PLC
Distribution Control PLC
Distribution Monitor RTU
PLC Simulator
RTU Simulator
Level 2
Power Grid
Control Center Processing LAN
Level 1
OT System Controller LAN
Power System control HMI
Power System Monitor HMI
Maintenance workstations
Power Grid Simulation System
Mini Energy-OT-System Cyber Security Test Platform
Power System Physical World Simulator
Electrical MU
Simulator
Power System Scada HMI
Modbus
S7Comm
Power Link Interface
Simulated Electrical signal

## Slide 6
Supervision network SCADA
Production network
Power Grid Physical Real World Simulation Network
Physical world simulator
Remote controllable circuits breakers
Components with MU integrated
Circuit Control PLC set
Real time monitor PLC set
Power Grid monitor & control HMI
Maintenance laptops
ICS [OT network ]
Power Grid operator
ICS engineer
Local HW-Engineering admin laptop
OT-Field device admin
Ethernet TCP/IP, Modbus TCP, S7Comm, MMS
Modbus TCP
and
S7Comm
Monitor RTUs
Electrical signal I/O
SV value
internet
Online real time city weather data
Other power customer physical world simulator/network
Power Grid OT Simulation System Network Diagram and Components View

## Slide 7
2D Power Grid Physical-world Simulation Program
PLC0
PLC1
PLC2
Circuit breaker logistic signal interface
SV sensors analog / linear signal interface
…
MU00
MU01
MU08
RTU simulation
Simulated MMS Bus
IEC 61850 Modbus-TCP Bus
PLC
simulation
Measurement Unit simulation
S7Comm Bus
Modbus-TCP client interface
S7Comm client Interface
S7Comm to Manufacturing Message Specification (MMS) IEC61850 Converter Interface
Power Grid Supervisory Human Machine Interface

## Slide 8
Simulate the
MU  IED <= MMS => RTU <= MMS => SCADA
With
MU  PLC <= S7Comm => HD676220-AD Converter  SCADA

## Slide 9
Solar farm MU
Solar storage MU
Transformer-01-MU
RTU
S7Comm
S7Comm to Manufacturing Message Specification (MMS) IEC61850 Converter Interface simulator
Physical world data generation
IEC61850 data visualization
Work state: running, Idle , error
Power output state: Voltage, current
Special State: such as motor RPM, battery percentage